Advanced Predictive Maintenance for Medical Equipment Using Machine Learning Algorithms in Healthcare Systems

Objectives

- Development of a machine learning–based predictive maintenance model for medical equipment failure detection.

- Analysis of operational parameters such as temperature, speed, torque, and usage time for identifying failure patterns.

- Reduction of unexpected equipment breakdowns and maintenance costs in healthcare systems.

- Improvement of reliability and operational efficiency of critical medical devices.

- Enhancement of patient safety through continuous availability of healthcare equipment.

Workflow Methodology

- Data Collection

Collect equipment operating data such as temperature, speed, torque, and usage time. In healthcare, these represent the working conditions of medical devices.

Dataset link: https://www.kaggle.com/datasets/shivamb/machine-predictive-maintenance-classification

- Data Preprocessing

Clean the data, remove unnecessary columns, handle missing values if present, and normalize the values so that all features are on the same scale. Handling Categorical Variables. Convert categorical features (such as product type: L, M, H) into numerical format using label encoding or one-hot encoding.

- Model Development

Apply machine learning algorithms such as Random Forest, combined with Grid Search optimization, to learn patterns between equipment operating conditions and failure status. Grid Search is used to systematically tune important hyperparameters (such as number of trees, maximum depth, and split criteria) in order to improve prediction accuracy and enhance the overall performance of the predictive maintenance model for healthcare equipment.

- Model Training

The model learns from past operational data to predict whether a device will experience No Failure, Heat Dissipation Failure, or Power Failure. During training, it reduces prediction errors by adjusting internal parameters and improves overall accuracy, enabling reliable classification of different medical equipment failure conditions.

- Performance Evaluation

accuracy, precision, recall, and F1-score to ensure reliable prediction